Village of Speculator- Mandatory Septic Inspection Form

Property Information

| Property Address: |  |
| --- | --- |
| Property Owner: | Mailing Address: |

General Information

| Age of Tank(s): | Age of Leach Field(s): | If currently unoccupied, how long vacant? |
| --- | --- | --- |
| Number of People Occupying Dwelling (currently): | Number of People Occupying Dwelling (anticipated): | Number of Bathrooms: |
| Number of bedrooms: | Water Supply to Dwelling: Well |  |

Wastewater Routing

| One tank/one system | Separate Gray and Black water systems: No | Number of sewer lines leaving the system:1 |
| --- | --- | --- |
| Sump Pump present | Location of discharge: | Indication the sewage bypasses the septic system? No |

Tank should be pumped, inspected, then water run for 30 minutes - adding dye to complete a flow and dye test

| Results of Flow/Dye test:Pass/Fail | Concerns: |
| --- | --- |

Septic Tank Evaluation

| Type of septic tank: |  | Number of Tanks:1 |  |  | Number of Compartments: 1 |
| --- | --- | --- | --- | --- | --- |
| Cleanout of tank acceptable? Yes |  | At what depth below grade? |  |  | Tank construction:Concrete |
| Volume of Tank (gallons): |  |  |  |  |  |
| Inlet Pipe Type/Composition: |  |  |  | Inlet Pipe Condition:Good |  |
| Inlet Baffle Type/Composition: |  |  |  | Inlet Baffle Condition:Good |  |
| Outlet Baffle Type/Composition: |  |  |  | Outlet Baffle Condition:Good |  |
| Filter:N/A | Type: |  |  | Condition:Good |  |
| Has there been any indication of a previous higher than normal level of septage in the tank? No Concerns: |  |  |  |  |  |
| What is the actual distance between liquid level and tank ceiling (inches)? |  |  |  |  |  |
| When the septic tank was pumped, did sewage flow back into the tank from the leaching fields?No Concerns: |  |  |  |  |  |
| Amount of solid buildup in the tank at time of inspection: Light |  |  | Is the system served by a pump and pump chamber? No Details: |  |  |
| Pump is in working order, with alarm, maintenance hole to grade: N/A |  |  |  |  |  |

Leaching System Evaluation

| Type of system: |  | Leaching area required per current standards (if percolation test info available) (sq. ft.): |
| --- | --- | --- |
| Effective leaching area provided? (If as-built drawing available) (sq. ft.): |  | Distance between septic tank and potable water (ft.)? |
| Distance between leaching system and potable water (ft.)? |  | Are there any structures or impermeable surfaces over or near the leaching field area? No Describe: |
| Are there one or more of the following signs of system malfunctions present? If yes describe |  |  |
| Septic odors:No | Ponding of sewage breakout:No |  |
| Lush green grass over parts of system:No | Illegal discharge:No |  |
| Does surface water, roof drains, or sump pump runoff drain into the leaching area? No If so describe: |  |  |
| Was distribution box(es) exposed? No |  | What was found? |
| Was leaching system probed? No |  | What were the results? |
| Were any leaching field galleries or pits opened to observe present or past effluent levels?No |  | What was found? |
| Is a more in-depth investigation required?No |  | If yes, describe investigation and results: |
| Is there an expansion area available?Likely |  | Were there any conditions observed that could limit a repair? (wetlands, ledge outcrops, streams, or water bodies, etc.) No If yes, explain: |

Results and Recommendations:

System functioned properly at time of inspection: Y/N

Further investigation of leaching fields recommended: Y/N

Evidence of prior high liquids level in system components: Y/N

Sewage overflow observed during inspection: Y/N

Inspector’s determination: Pass/Fail

Reason for failing:

Inspector’s recommendation to above questions:

This inspection report is based on the condition of the systems of the date and time of the inspection. This Inspection Report is a statement of fact only; it is not a guarantee of the future condition of the septic system. (Inspector and Name of Company) does not offer any warranties, either expressed or implied, as to the findings or conditions of this inspection.

COMPANY:

ADDRESS:

INSPECTOR’S NAME:

INSPECTOR’S SIGNATURE:

PROFESSION:

LICENSE NUMBER:

DATE:

Revised April 9, 2026